Brand name for electrical goods:

| Sr. | Item description | Make /Brand |
| --- | --- | --- |
| 1 | Cable jointing kit/ Cable End Termination | Raychem / CCI approved, Raychem, M-Seal, Safe system, Xicon brand of CCI, Hari consolidated(Cable seal brand), Densons(Yamuna), BIRLA 3M/ PIDILITE/ ABB |
| 2 | 11 kV/HT Vacuum Circuit Breaker, SF-6/11kV gas filled Circuit Breaker | GEC, Siemens, Andrew yule, Crompton Greave, Alsthom(Areva), Jyoti, ABB, BHEL, Alind, L&T, Schneider, Biecco Lawrie. |
| 3 | ACB(11kV) | Siemens, L&T, Crompton Greave, Schneider, Jyoti, GEC, MEI, ABB, Merlin Gerin, Moeller, Biecco Lawrie. |
| 4 | Lift /elevator | O/Mitsubishi/Schindler/Johnson, Kone, Fujitec, Mitsubishi electric,Schindler elevator, Otis elevator, Hitachi,Kinetic Hyundai,ESCON , ,elevators,Expedite automation LLP,ThyssenKrupp elevator India |
| 5 | MCCBs, MCBs, ELCBS, RCCBs, DB(Distribution Board), ICTPN, TP, HRC fuse, | ISI Marked make-Havells/L&T/Anchor/Legrand/Standard Electric Siemens, Legrand, , GEC, Andrew yule, BCH, Schneider, ABB, Moeller, Merlin Gerin, Hager/ Indoasian /Standard/ |
|  | MCB | ISI Marked make- Havells/L&T/Anchor/Legrand/Standard Electric,Indp Kopp/Loadster |
|  | DB(Distribution Board) | United Electric Company/Controsl & Switchgear/Havell’s/MDS-Legrand /Standard Electricals Ltd /L&T. |
| 6 | XLPE Cable 11/33kV grade | Asian, NICCO, Universal, CCI, Torrent, Fort Gloster, INCAB, Industrial Cable, Polycab/Havells |
| 7 | PVC/XLPE Power Cables up to 1.1kV grade | CCI, Universal Cable, Polycab, NICCO, Torrent, Asian, Fort Gloster, Finolex, Incab, Industrial Cable,/RPG /NICCO/Delton/ Associated Flexible/ Gemscab/ KEI/ Radiant/ Ravin |
| 8 | Instrument Panel Voltmeter, Ammeter, PF meter /tongue tester | Automatic Electric, Meco, Industrial Meter, Motwani, Toshniwal, L&T, Siemens, Rishab (L&T), IMP, Shanti, Moeller (HPL), Secure/Enercon |
| 9 | Transformer | Emco /Crompton Greaves, NGEF, Kirloskar, BHEL, Andrewyule, Bharat Bijlee, Alstom, ABB, Voltamp, Siemens, GEC, Voltas, TELK/ L&T |
| 10 | Relays | Siemens, L&T, Alsthom, EA SUN REY Roll, ABB, BHEL, Jyoti, Alind, GE, BCH, Minilec, Enercon/ Pic controls |
| 11 | Luminaries, MH, HPSV, T-5 fittings, CFL etc | Phillips, Crompton, Bajaj, GE, Osram, Wipro |
| 12 | PVC insulated Elect. Wires Sheathed/ unsheathed, PVC flexible LT cable, 1akelite1, single core, House wiring, Flat cable for submersible pumps | ISI Marked Make -Finolex Cables /Polycab cable, Finolex, Asian, Fort Gloster, CCI, NICCO, Universal, Incab, Torrent, Uniflex, RPG, Polycab, ICL, Unistar, kalinga |
| 13 | Current Transformer, CT, PT | Controls & Switchgear/Gilbert & Maxwell Electricals/Kappa Electricals/Larsen & Toubro /Narayan Powertech /Pragati Electricals /Precise Electricals/Silkaans Electricals Mfg. Co,Automatic Electric, CGL, C&S, MECO, KAPPA, Siemens, L&T, Schneider, GYRO / PRAGATHI/ Crompton /Silkaans,/Laxmi,/Prayog, Cands/ Narayan Power tech |
| 14 | On line UPS, Servo Stabilizer, CVT | AEI, Hind Rectifier, Hi-rel, Autometer, Enertech, Pyramid, APC, Dubas, , , TATA Libert, Emersion / Gutor/ LOGICSTAT/numeric /Riello/ ABB/ Toshiba Corporation |
| 15 | Rotary Switches. Selector Switches, toggle , Limit Switches/ PROXIMITY | Kaycee, L&T, Salzer, GE, ABB, C&S, Siemens, HPL, Moeller, Essan Deinki(Gec,Bhopal),Lencas/ Jaibalaji/STS/ HONEYWELL AUTOMATION/ MTL INSTRUMENT/ TURCK INDIA AUTOMAATION/ PEPPERL & FUCHS |
|  | Ammeter/ Voltmeter Selector switch | Kaycee/salzer |
| 16 | Exhaust fan/Air Circulator/ Bracket & Pedestal fans/Ceiling fan /wall | Havells/Cropmton greavers/Usha/ Khaitan, Crompton, Khaitan, GEC, Usha, Philips, Bajaj, Polar, Orient, Havellsl, Almonard/ |
|  | Exhaust fan | Bajaj/Crompton Greaves/Khaitan/Usha/Havel |
| 17 | Electronic/ Energy Meter | L&T, IMP,HPL, Secure, ABB, Enercon/ GEC ALSTHOM /KEI |
| 18 | Central Air Conditioning Plants & Package type plant | Voltas, Blue Star, Sidwal, Fedder Lloyd, Videocon, Amtrex, Carrier, Frick, Shriram, Hitachi, O General, Mitsubhisi |
| 19 | Capacitors , PF correction for Electrical General Services | ABB, BHEL, Indian Capacitors, Khatau Junker, Shreem, Unistar, WS Insulators, L&T, Hind Rectifier, Voltas, Siemens, Schneider, Indian Condenser, EPCOS/ Probhodhan / Mehar / Asian/ Vishay/ ZEZ silco |
| 20 | DG Sets- Portable | Birla Yamaha, CGL, Shriram Honda |
| 21 | DG Engine | Cummins, Kirloskar, Caterpillar, Ashok Leylend, Penta-volvo, Wartsila |
| 22 | Alternator for DG set | KEC, CGL, Stampford, Leroy-somer, Kirloskar-Green, Mecc alte |
| 23 | Induction/ Electrical Motor | Bharat Bijlee, BHEL, CGL, GE, Jyoti, Kirloskar, Siemens, ABB, NGEF, Alstom/ L&T |
| 24 | LT Switchgear & control gears- Contactors & motor starters, Energy Efficient Soft Starter panel/ Earthing Switch, Single phase preventer | ABB, CGL, Jyoti, L&T, MEI, NGEF, Siemens, Telemecanique & control (India) (TC), Legrand(MDS), BCH, Standard, GEC, BHEL, Minilec, Enercon, Andrewyule, C&S, N.N. Planner, Power Boss, Schneider. |
| 25 | Pumps- Submersible | Calama, CGL, Jyoti, Kirloskar Pump, KSB, TEXMO/ANAND AGENCIES/KIRLOSKAR BROTHERSSABAR/Oswal/Hindustan/ Amrut /SHREEJI |
| 26 | Timers- electronic solid state | ABB, BHEL, GE, Jyoti, L&T, BCH, Siemens, Minilec, Legrand |
| 27 | Water Coolers | Blue Star, Fedders, Kelvinator, Shriram, Sidwal, Voltas |
| 28 | Electrical accessories (modular/Piano switch, Plugs & sockets, ceiling rose, Angle holder, holders,) | Legrand/ Havells/ Anchor / SSK(Top line), Precision(Prime), Vinay(Clair-30), CONA(Nice-Indian), Leader, Indoasian |
| 29 | Bell Buzzer | Havells/Anchor ,CONA, MAX, Anchor, Leader, SSK |
| 30 | Electronic fan regulator | Legrand / schnieder zencilo /Havells,Anchor, Usha, ERIK, Rider |
| 31 | Solar cell/Module system | TATA BP, BEL, REIL, MOSER BEAR, CEL, Sharp Business Systems (India) Ltd. |
| 32 | Solar Lighting system | Philips/Bajaj/EMMVEE/MIKADO /TATA BP, Anu solar , DGS&D approved vendors on RC |
| 33 | GI/MS Pipe | TATA, Jindal, TT Swastik, Prakash Surya/ BHARAT STEEL TUBE |
| 34 | Geysers | Bajaj/Crompton/Havells/Usha,Bajaj, Usha, Crompton , Spherehot, Recold, Venus,Hylax |
| 35 | Lifts & Escalators | Thysson Krup, Shindler, KONE, OTIS ,Mitsubhisi. |
| 36 | LEDs | CREE, Acuity Brands , EATON, GE LIGHTING, OSRAM, PHILIPS , Nichia, Seoul Semi conductor, EVERLIGHT, Zumtobel |
| 37 | Solar Water Heaters | EMVEE/MIKADO /TATA BP, Anu solar ,As per MNES approved sources |
| 39 | Air Cooling Plants | Voltas, Blue Star, Carrier |
| 40 | Battery Charger for other than battery room for Train Lighting | Hind Rectifier, Usha Rectifier, Suresh Electrical, Pyramid, Automatic Electric, Delta Elect., Trinity Elect., Universal Ind. Products, Venus Engg, RS Power. |
| 41 | Battery Charger for battery room | Amar Raja, Exide, RS Power, Chhabi, sub knife /semikron/ HBL POWER/ DUBAS ENGINEERING/ CHLORIDE POWER |
| 42 | PVC Conduit pipe , Bend & Casing capping for electrical wiring | B.E.C./AKG/Plaza/Kalinga/Berlia/ Marry/Plaza, Precision, A.K.G., Polycab, Finolex , Prestoplast, Modi / Precision / Diamond/ ravindra/ berlia electricals |
| 43 | Aluminium Ladders | Sumer,/Beatfire/Alco aluminium/Allied trades Links/Sumip Composites/IDS Coposites/ SHREE ASSOCIATES |
| 44 | LT Panels/ LDB/ASSB/PMCC/MCC/PCC/ Feeder Pillar | L & T/ SIEMENS/ ABB/ JYOTI/ C & S/ Indoasian/ Advance power control/ Roze mega power/ Howells/ Shivalic power |
| 45 | Air Curtain | Aircon, ALMONARD, Technocrate, Thermadyne, Mitzwak |
| 46 | Lighting Arrestor | a)Jayshree Make – JSI (b) WSI (c) Shesashayee (d) BHEL (e) Luster Ceramics (f) Shakti make (g) Oblum make. Any other make approved by the PGVCL/GUVNL |
| 47 | 66KV Circuit Breaker | ABB, Siemens, AREVA, Schneider Electric |
| 48 | 66KV Isolator | ABB, AREVA. |
| 49 | 66KV Current Transformer | ABB, CGL, BHEL, TELK |
| 50 | 66KV CVT | ABB, TELK, CGL, BHEL |
| 51 | 66KV LA | ABB, CGL |
| 52 | Control and Relay Panel | ABB, AREVA, Siemens, Schneider Electric |
| 54 | Batteries | Exide, Amco, Amaraja, HBL nife |
| 55 | Battery Charger | Chhabi, HBL, Caldyne, Masstech, DUBAS, Statcon |
| 56 | Station Transformer | CGL, Kotson, Voltamp, Kanohar, EMCO, AREVA, |
| 57 | Fire Protection system | Vijay, unitech, Technofab, Mather & Platt, Steelage, Gunebo, Agnish, Kidde, Honeywell, schrack seconet, autonica |
| 58 | 11KV switchgear | BHEL, Jyoti ABB, AREVA, Siemens, Schneider |
| 59 | Adhesives & Glues | Pidilite ,Dr. Fixit, Fevicol, Super, Araldite, Castrol ,Loctite ,GE Silicon Sealents |
| 60 | - HDPE Tarpaulin | Spot Trading, |
| 61 | - Electric Motors & Pumps | ABB, Bharat Bijlee, Crompton Greaves, Kirloskar, Baldor,KSB, Oriental-Motor, GE-Alsthom. |
| 62 | - Flame proof lighting JB , Motor | Sudhir/ Baliga/FEP/Bartec GmbH / FCG FLAMEPROOF/ FCG POWER/ FLAMEPROOF EQUIPMENTS/ FLEXPRO/ EX-PROTECTA |
| 63 | - AHU & HVAC Products | Honeywell, Parker Hannifin Corporation, |
| 64 | # Valves & Cocks, | Audco, zoloto, SAP, KSB, kirloskar, castle |
| 65 | Pneumatics | Techno, Electro-pneumatic, Festo, Janatics, Luthra |
| 66 | Hydraulics | Vickers, Denisons, Moog, Hawe, Enerpac |
| 67 | Rubber mat | Jyoti/ CATU France |
| 68 | Change over switch | HPL/L&T/ standard |
| 69 | Trivector Meters (Electronic), Solid State Meters | ABB / L & T / SECURE / ABB/ |
| 70 | indicating lamps (LED only) | Bhartia Industries Ltd /Concord Controls/ Controls & swithgear Co. Ltd/ Larsen & Toubro Ltd/ Seimens Ltd./ Shri Tusi Switchgears/ Teknic Controls or approved equivalent as per Engineer-in-charge altos/teknik/rass/rompton/vinay/ ESSEN & DEINKI (VAISHNOV, L& T) / Jaibalaji/STS |
| 71 | Cables Glands / socket ( Heavy Duty), lug, thimble | Dowells ,Commet / Gripwell / BRACO/ SIECO / JAINSON/Jacob/ METAL CRAFT |
| 71A | Cables Glands | Power Engg /Dowells/Commet/Electromag |
| 72 | telephone cables | Finolex / Delton / Polycab/Rpg |
| 73 | Telephone Tag/Blocks | ITI / KRONE |
| 74 | Switch Accessories sockets ceiling rose, holders | Anchor ‘’ Roma ‘’ (Tressa), Legrand ( Mosic) / Clipsal /crab tree Havells, Indoasian, MK honnewell |
| 75 | Data Cable | NORDEX / AVIYA / AMP |
| 76 | Lighting Fixtures , luminary & Lamps | Philips / GE / WIPRO / BAJAJ/Crompton/surya/Halonix |
| 77 | Terminal block | Wago/ Elmex /Connect well / finolex /Techno plast /Idustrial Controls |
| 78 | Industrial Sockets | Crompton / Legrand /indoasian/ Schneider/ Jaibalaji/STS |
| 79 | Steel Tubular Pole /swaged pole | Jindal / Power Control Corp / Bombay Poles / India Pole/wipro/ ishwar sing & associates/ Roll Tubes |
| 80 | SMF, sealed maintenance free | EXIDE / AMAR RAJA / GLOBAL / YUASA |
| 81 | Lightning Protection System | INGESCO / DMSGI / Indelect,/ Duval messien/ DEHN |
| 82 | Earthing Stations | Terrafill / Safe / Ashlok |
| 83 | Modular switch/ plate /box / socket accessories | Legrand (mosaic), indoasian, havellsl, MK, ROMA, wrap around, Wipro |
| 84 | Ceiling Rose | ELLYES / SSK / ANCHOR / CPL |
| 85 | Aviation Light | BAJAJ/BEACON/ |
| 86 | Starter DOL /Star Delta | L&T / SIEMENS / SCHNEIDER |
| 87 | Hydrant Valve Branch Pipe | NEW AGE / VINCO / ZENITH |
| 88 | Fire Hose | FIREX / NEW AGE / CRC / ZENITH |
| 89 | HOSE REEL | KANTEK / KANTA FLEX HOSE |
| 90 | SLUICE VALVE | KALPANA / KIRLOSKER / INTOV |
| 91 | REFLUX VALVE | KALPANA / KIRLOSKER / BENKO |
| 92 | Tester , pliers, screw driver ,wire stripper | Jhalani, Tapariya |
| 93 | Cable tie ,PVC gland, nylon gland | Trinity touch/flexicon/ dowel/ GIANTLOK |
| 94 | Timer | Jaibalaji/STS/GIS(L&T)/Seimens/Concord/Electronic automation |
| 95 | Wall mounting bracket | Tri sure innovation / |
| 96 | Panel Space heater /thermostat | refrigeration & conditioning/ girish ego |
| 97 | Transformer parts Buchholz/ oil level indicator / low oil level/ MOG/ OTI/WTI/ silica gel breather/ pressure relief valve/ Transformer bushing/ tapping switch | Laxmi Electric Corporation/ shree ji group/ RATHOD ENTERPRISE/ Mita locks /SCIENTIFIC CONTROLS/ Yogya enterprises/ DRIER CHEMICALS |
| 98 | Heating element, electrical furnace | National /Kantha sandvik India/ |
| 99 | Space heater | Refrigration & Conditioning /Girishego/ Apt Control |
| 100 | Thermostat | Refrigration & Conditioning /Girishego/ Apt Control |
| 101 | High mast | Bajaj/Wipro/Ventura/Surya/Crompton |
| 102 | HT Fuse | BUSHMAN/GE |
| 103 | HT isolator | Andrew Yule/A.bond strands, Dreisher & pannicker /elektrolites |
| 104 | Electrical actuator | AUMA/LIMITORQYE/ROTORK |
| 105 | Junction Box / SMC/ Thermoplastic/Thermosetting | FIBOX / ELDON/HANSEL/ SUMIP/trinity touch/Neptune |
| 106 | EOT CRANE | Avon/Mangla/Kone /Electromech/LightLift |
| 107 | Siren/Hooter/Buzzer | KHERAJ |
| 108 | Adhesive/ PVC /cotton Tape/Insulating Mat | steel grip/bells electrical company / JONSON / bells electrical /Champion |
| 109 | Gasket / Insulation rubber sheet /Neoprene / Rubber sheet nitrile | Neoprene/Silicon/Epdm/ Arvico Rubber/ Unicon/ Dynamic Rubber/ Satya Narayan |
| 110 | Grommet | Neoprene/Silicon/EPDM |
| 111 | Electrical tracer | Bartec GmbH/raychem |
| 112 | Lift /elevator | OTIS/Avon/ |
| 113 | DG set | Cummins/sudhir/Kohler/ Prasha technologies |
| 114 | PMS (power management system) | ACME/PACE/ |
|  | Solar power plant | Control and switchgear /moser baer /aaptindia/intersolar/Lanco |
|  | Water Fountain | Madhu Fountains /fountain creator/family fountains/Premier |
| 117 | Vacuum Interrupters | BEL, CGL |
| 118 | Instrument Transformer | Silkaans,Laxmi,Pragati,Prayog,Narayan Power tech, Vishal Transformer,Jupiter Electricals,ECS,ETC,Vidyut Control,Paras,Emess,Control,Kappa |
| 119 | Transducers | AEL,ABB,Southern/ Transducers, Rishabh |
| 120 | Numerical Relay/Micro Processers Based Relays | Areva (Alstom),ABB,L & T,Siemens Ltd,JVS,Ashida,Easun Rerolle,EME (AVK,SEGC) |
| 121 | Plug in Relay | Guardian,OEN Pvt Ltd,Jyoti,Areva (Alstom),Easun Rerolle,ABB Bangalore |
| 122 | Relay Test Kits | Omicron Electronics,Progrramma Electronika,Sweden,Areva(Alstom) |
| 123 | PUSH Button | SIEMENS, L & T ,(GEC, CANDS,ATLOS RASS (CONTROLS/TECHNQUE) EME MATHURA /BCH |
| 124 | SEALING KITS | BORA BROS,BHOPAL (MECP),EA,BHOPAL (CCI), (DENSON), GEC,BHOPAL(RAYCHEM) |
| 125 | Support Insulator | India Insulator, Mascasts, Permali, Ramanuj |
| 126 | POWER PACK | NUCLEUS QUANTAM |
| 127 | motor (spring charging) | Ralliwolf (Elegent),Kulkarni Power Tools,Fal Indutries |
| 128 | Buzzer/Hooter For Panel | Cands,Mathura Sw.Grs.Yashmun,Jvs,Electrnic Applyances(Alan Make)/ Kheraj |
| 129 | ELECTRIC BELL | Havells/Anchor YASHMUNS,MATHURA SWGRS,CANDS ELECTRICALS,VIKAS AGENCIES,JVS |
| 130 | ANNUNCIATOR/ ALARM PANEL | PROCON,VERITEK,YASHMUN,MINILAC (AGECO,BHOPAL),JVS ELECTRONICS, SIEMENS (EA,BHOPAL) / Digicont/ IIC TECHNOLOGIES |
| 131 | ZnO Surge Arrestor | REYCHEM(GEC),OBLUM |
| 132 | TEST LINK BLOCK | ENKAY IMP DAV |
| 133 | Rubber hand globe/ High voltage detector /face shield/ | CATU France/kusam-meco/ |
| 134 | Cable fault locator | Megger LTD UK /Aplab/SebaKMT |
| 135 | Insulation tester / earth resistance /soil resistivity | Megger LTD UK /kusam-meco/Rishabh/motwane |
| 136 | Substation /switch yard/power plant | Megawin /Tavrida/Yamuna power/ Advance Control/Switchgear & Control |
| 137 | Temperature scanner | Digicont |
| 138 | CRC 2.26 /Corrosion Protection | Belgium |
| 139 | Oil filtration plant | Fowler westrup |
| 140 | Junction box, cabinet | Fibox /eldon/ |
| 141 | Industrial plug , socket | Mennekes / |
| 142 | Semi conductor fuse /ferrule fuse | Busmann/ferraz Shawmut/ mersen |
| 143 | Carbon brush /terminal plate /slipring | Elca carbone Lorraine /bhatt & bros/mihir enterprises/ ASSAM CARBON/ SCHUNK METAL |
| 144 | Proximity switch | JAIBALAJI/sts/ kana electromechs |
| 145 | Cable tray, ladder type | Indiana conveyors/ Silver line power |
| 146 | Rectifier, semiconductor , POWER SUPPLY, smps | Ruttonsha/semikron /cosel ltd |
| 147 | FRP / SMC, JB/ladder/tray, canopy/street poles | Sintex/hensel/sumip composites/ |
| 148 | Blowers /cooling fans | Kheraj electrical /EBM NADI/ |
| 149 | Motor spare parts as bearing cap/ terminal box, cooling fan /fan cover /brush holder/solenoid coil | Bhatt & bros/ mihir enterprises |
| 150 | Fancy light /chandelier | Philips/jaquar /decon |
| 151 | Decorative poles for lighting | Metal coats /Bajaj/wipro/ ishwar sing & associates /k-lite /decon |
| 152 | Cathodic equipment/ Protection | CORRTECH/ Raychem/ Adhunik Power Systems/ Rajasthan Electronics & Instruments |
| 153 | Transformer oil | Indian oil/apar industry /savita chemical / Electrol/middle/ MADRAS PETROCHEM/ UNIVERSAL PETRO. CHEM/ MOTORAL TECHNOLOGIES/ PATSON TRANSFORMER |
| 154 | Tv/radio antenna tower | Avaids technovators /axis engineers/ |
| 155 | Surveillance /CCTV | Mantra Softech/ Axies technology/ CP PLUS INDIA/ KOMANSU ELECTRONICS/ ESSI Integrated Technologies/ Tekno electro solution/ Godrej/ Schneider electric/ Neural integrated/ Honeywell/ Siemens/ |
| 156 | Trailing cable/ High mast cable | Unique cables/ ECI cables/ Bhuwal cables/ IMT cables/ Centurion cable |
| 157 | Feeder pillar | Indoasian/rose mega/advance control /switchgear and control /L&T/ |
| 158 | Transmission Line Insulator | Goldstone / |
| 159 | VFD/ soft starter/ AVR | Parker/ Jayshree/ Rockwell automation/ Chuan Shun/ L & T |
| 160 | Bearing/ ITS ACCESSORIES | SKF/TIMKEN/ FAG/ NATIONAL ENGINEERING |
| 161 | Panel Lock | Dirak/ Ahoka lock/ Shah lock |
| 162 | Bus bar copper | Sohan/ Citizen/ KP Wires / Kapsons / Tamra dhatu |
| 163 | Low voltage Relay | OEN / PLA |
| 164 | Calibration lab | C& I Calibrator/ NABL/ Shriram institute/ nplindia |
| 165 | Street Light Automation by Mobile | Sumona/Cimcon/ A Square E Systems/ crampton greave/ Instruments Universal |
| 166 | Thermal Scanner | Fluke / Testo / Flir |
| 167 | Harmonic Analyser | YOKOGAWA / P2 Power |
| 168 | Plug and Connector | Mennekes/ Neptune / Hensel / Harting |
| 169 | Flexible conduit/ wrapping bands | B.E.C./AKG/Plaza/Kalinga/Berlia/ Marry/Plaza Giantlok/ Brass Copper & Alloy/ Igus India/ Vaishnavi Electricals |
| 170 | Transmission tower , clamp, insulator and accessories | Diatron /EMI/Supreme |
| 171 | Circuit breaker analyser | Isatest/ 11th Taurus Powertronics/ 5th Scope TNM/ Madhav Engineers |
| 172 | Inverter | Luminous/Microtech / Sukam, |
| 173 | Earthing electrode | Jindal, Tata ,JK |
| 174 | Gear box/ / GEAR BOX SPARES | Premium/ Greaves Ltd./ power build/ Elecon Engineering / Essential Power Transmission |
| 175 | Din rail channel /terminal strip | Essen/ Trinity touch |
| 176 | Battery terminal/neutral link | Empire alloys |
| 177 | Cable accessories | Frontec/ Giantlok/ yamunadensons/ Trinity touch/ Maha laxmi cables |
| 178 | FRP street light pole | Sumip/ Unique electrotech/ Kemrock |
| 179 | Submersible cable | Flostar/ Unique cables/ Janta cables/ national cables/ Polycab Special |
| 180 | Electrical testing equipment | Sivananda/rectifier and electronics/ntpl india/kvtek |
| 181 | Oil filtration plant | AR engg/ Vacuum Plan/ Deepak Vacuum/ Minimac Systems |
| 182 | Measuring tape , steel tap, vernier | Freeman/venus/aga/ Narang |
| 183 | Self adhesive tape, barricading tape, cello tape | Trupati, jainson, |
| 184 | Air compressor | Elgi/ ZEN AIR TECH/parth/ Gajjar/ Kgkhosla/Kirloskar/Atlas Capco/Ingersoll |
| 185 | Extension cord, power strip | Anchor, grish, dhiraj |
| 186 | Crimping tools , pliers, screw driver, tester , Hacksaw Blades, chisel, hammer, Allen key, sprit level, non sparking tools, tools trolley , wrench, adjustable wrench, bearing puller , bench vice , ratchet ,too kits, oil can, grease gun, flexible hose, | Taparia, jhalani, jainson, venus/ GIANTLOK |
| 187 | Electrical power tools, blower, grinder, drill machine, cutter | Taparia, jhalani, Nippon , bosch, hitachi, Makita , dewalt |
| 188 | ELECTRICAL TESTING LAB | Delhi Test House/ MSME-Testing Centre/ National Testing Laboratory/ Shriram Institute for Industrial Research/ Electrical Research and Development Association (ERDA)/ Spectro Analytical Labs Limited/ CPRI |
| 189 | Cable duct | Salzer/ GIANTLOK |
| 190 | Laminated sticker | Kores/ Arise Packers/ Jyoti Industries/ Impact Print & Pack |
| 191 | Phase failure relay | Minilec/ Siemens/ schneider |
| 192 | Genset control/ DG set control | Rishabh engineering/ DSC genset/ Havells/ Sudhir genset/ Sun industrial/ |
| 193 | Induction Heater Bearing | SKF/Timken/ iNVENTUM Engineering /Bega/simatec |
| 194 | Dehumidifier | Bry Air/ ATICO Medical/ Drycool Systems/ Acuro Organics/ Buchi India/ Osaw Industrial/ Sorbead India/ Zestha Developers |
| 195 | Water purifier | Aquaguard /kent/ aqua pure /liv pure |
| 196 | Switch fuse unit/isolator | GEC /Aastholm/ L&T /Standard/ MDS/Havells/Legrand Indoasian/Seimens/L&T/C&S/GE |
| 197 | Polyurethane Foam (PUF) | DP FOAM/ SAI TOOLS/ ROSHAN IND. |
| 198 | Busbar aluminum/ Aluminium Sheet | Bharat Aluminimum/ Hindalco/ National Aluminium |
| 199 | MS bolt, nuts / washer/ as studs / bolts and nuts / washer / Fasteners | VITHLANI/ Unbreco/ PIONEER NUTS AND BOLTS/ PRECISION AUTO/ FASTNERS & ALLIED |
| 200 | S S STUDS & NUTS / BOLT & WASHERS | FIX FIT Fastners/ Nitin Fastners/Mohanlal/ JJ Industries/ Modern Machinery Mart |
| 201 | Rubber hoses, suction/discharge /Neoprenehoses/air&water/lowPressure/LPG/Nitrile Lined Hose | A.D. FLEX HOSE/ AMIT INDUSTRIAL/ SUDEEP INDUSTRIES/ SRIDHAR RUBBER/ VIKRAM & CO |
| 202 | Tool Bits/Tungston Carbide tools/boring tools/turning tools | SECO TOOLS/ SANDVIK ASIA/ KENNA METAL/ MIRANDA TOOLS |
| 203 | Hacksaw Blades | Bipico Industries/ Miranda Tools |
| 204 | NON SPARKING TOOLS | Mekaster International/ Griphold Tools/ Tristar International,/ Torc Star Bolting/ Daman International |
| 205 | BEARING PULLER | Power team/ Griphold ENGG./ Power Master Engg./ Tristar International |
| 206 | Tarpaulin, plastic/canvas | Supreme Industries/ Daisy Trading |
| 207 | COTTON WASTE | GOPALDAS GOKALDAS PAMANI |
| 208 | Rustolene / Rust Remover | Trimurti india/ Shri parshwa enterprise/ Perma Construction Aids/ Chemtex Speciality/ Stanvac-Superon |
| 209 | Holdtite / Loctite/ Jointing Paste / Araldite/ Fevicol / Wax Polish / Greese / Like Item | Loctite/ Swan machine tools/ Standard Greases/ Araldite/ Pidilite/ |
| 210 | Graphite Powder / flex / emery paper /Emery tape / abrasives / grinding wheel/Grinding machine like item | Carborandum Universal/ Malani abrasives/ 3M/ Speed well/ JPT Grinding Wheel |
| 211 | V. BELT / Timing Belt/ Pulley | FENNER INDIA/ GATES INDIA |
| 212 | Material Handling Equipments | Neotech Equipments/ Ubique Industries |
| 213 | G.I. WIRE ROPE | TRACTAL TIRFOR |
| 214 | PAINT (INDUSTRIAL)/ Synthetic enamel | Berger/ asian/ Shalimar/ jenson & Nicholson/ ICI india/ kansai nerolac |
| 215 | Aprons, Leg Guards For Welder, PVC full Suit | Dalson incorporation/ Joseph Leslie/ Metasafe/ Shah Engg. Equipment |
| 216 | BOILER SUIT / STITCHING OF BOILER SUIT | Khodidas Cloths & Tailoring/ Jaihind Social Welfare Centre/ Supreme Tailoring Firm/ A.A. Surti Topiwala |
| 217 | CANVAS HANDGLOVES | JINDAL TRADE LINKERS/ KEWAL SONS/ DALSON INCORPORATION |
| 218 | LEATHER HAND GLOVES | Jindal Trade Linkers/ Kewal Sons/ Ratan Leather Industries/ Archit Safety Product/ Bharat Leather Works |
| 219 | Fire Extinguishers/ Fire Hydrant/ Fire Hose | Fire equipments corp./ dynamic corporation/ zenith fire services/ Indian rayon ind. Ltd. |
| 220 | Hand gloves rubber acid & alkali proof/ electrically tested upto 15KVA, 250 mm | YAN ENGINEERS/ JOSEPH LESLIE & CO LLP/ HONEYWELL LIFE SAFETY/ UDYOGI PLASTICS |
| 221 | Safety Goggles/ Face Shields/Safety Belt/ Helmet | Karam Industries/ Udyogi Plastics/ Vijay Sabre Safety/ MSA INDIA |
| 222 | SAFETY TORCH - FIRE & EXPLOSION PROOF | UNION CARBIDE/ MSA (INDIA) |
| 223 | SPRINKLER SYSTEM / SPARES/ WATER SPRAY NOZZLE | Fire safety devices/ de's technico/ fms systems/ fire tech engg/ fire equipments corp./ newage indutries |
| 224 | Hand lamp, personal alarm system, safety Net, full body harness, retractable type Fall arrestor, wind sock cloth, dust mask | JOSEPH LESLIE/ KARAM INDUSTRIES/ UDYOGI PLASTICS |
| 225 | EYE WASH UNIT/SAFETY SHOWER | joseph leslie/ creative engineers/ unicare emergency/ vijay sabre safety |
| 226 | EAR MUFF | JOSEPH LESLIE/ MSA ( INDIA )/ UDYOGI PLASTICS |
| 227 | ROAD BARRICATING TAPE | MSA (INDIA)/ UDYOGI PLASTICS |
| 228 | COMMUNICATION CABLE (JELLY FILLED) | Delton Cables/ Elkay Telelinks/ Finolex Cables/Kec/ Nicco/ Paramount |
| 229 | OPTICAL FIBER CABLE | AKSH OPTIFIBRE/ FINOLEX/ KEC/ PARAMOUNT/ APAR INDUSTRIES |
| 230 | LED LIGHT FITTINGS (SOLAR/REGULAR) | Crompton/ Bajaj/ Wipro/ Philips/ INSTA POWER/ BONS LIGHT/ Linkage Technologies |
| 231 | Contact Cleaner | Stanvac Chemicals/ Pidilite |
| 232 | LEAD ACID BATTERY BANK | AMCO-Shaft/ Exide/ Union Batteries/ HBL Power/ Amara Raja |
| 233 | Ni-Cd BATTERY BANK | AMCO-SHAFT/ HBL POWER/ DUBAS ENGINEERING |
| 234 | LIGHTING TRANSFORMER | Crompton/ L & T/ Jyoti/ Pragati Electricals/ Electrical Controls & Systems/ Allied Electricals |
| 235 | MOV actuators/ Motorized | Limitorque India/ Rotork Controls/ Auma India/ Flowserve India/ Antrieb Technik |
| 236 | Heat Tracer Spares | Thermon Heat Tracers/ Raychem Rpg/ Thermopad |
| 237 | HEATER BUNDLE | CHROMALOX/ ESCORTS/ SANDVIK ASIA |
| 238 | GAUZING RODS/ BRAZING RODS | ESAB INDIA/ L & T/ D & H SECHERON/ MAILAM INDIA |
| 239 | Hydrometers & Thermometers / Viscometers | Swastik Thermometer/ Sita Thermometers Industries/ J-Sil Scientific/ Baroda Scientific Glass Works/ Star Scientific |
| 240 | Soot Blowers / Boiler Accessories And Mountings | BHEL/ TRUST WELL ENGINEERS/ HI-TECH ENGINEERS |
| 241 | COUPLINGS | IEC ENGINEERING/ RATHI TRANSPOWER/ UNIQUE TRANSMISSION/ EUROFLEX TRANSMISSIONS |
| 242 | Fire Alarm | VijayRaj fire/ Honeywell/ VFP fire/ Foxpro,Kidde/Agnish/Gunebo/ shrack/ |
| 243 | Gate, Globe & Check Valve | KSB Pump/ Larsen & Toubro Valves/ Niton Valve/ Hawa Valves(/Fouress Engineering/ Panchvati Valves & Flanges/ Oswal Industries/ Leader Valves/ Ocean Valves Mfg. |
| 244 | DCS/ PLC | Yokogawa India/ Invensys India/ Emerson Process Management/ Honeywell Automation/ Abb Ltd/ Siemens/ Schneider Electric/ Rockwell Automation |
| 245 | Thermocouple/RTD cables/ signal cables | KEI Industries/ Cords Cable/ Paramount Communications/ Udey Pyrocables/ Universal Cables/ Elkay Telelinks/ Delton Cables |
| 246 | AC / DC current convertor | Yokogawa India/ Emcon Instruments |
| 247 | Temperature Gauges | Ashcroft India/ Precision Industries/ H Guru Industries/ Anand Industries/ Pyro Electric Inst.Goa |
| 248 | thermocouple/thermowells/ RTD | Micro precision products/ Baumer technologies/ Altop industries/ H guru instruments/ Pyro electric inst. Goa |
| 249 | Telephone exchange/ PBX/ PABX/ EPABX | Siemens/ Aastra/ Matrix/ Avaya Global connect/ Samsung/ Alcatel |
| 250 | Lifting tools | Max Industries/ Tejas Enterprise/ Konecranes India/ Godrejmhe |
| 251 | Transformer oil test lab | KTEC OIL LABORATORIES |
| 252 | Cable TV cable , RG6, Co-axial | POLYCAB/DELTON/CCI/FINOLEX |
| 253 | Phenolic laminated sheet | HYLUM, ANCHOR |
| 254 | LED lamp | Philips, Bajaj, Crompton, Wipro,Osram, Syska |
| 255 | submersible/openwell/centrifugal motor pump set | KIRLOAKR/CROMPTON/V-GUARD/TEXMO/CRI/KSB |
| 256 | HDPE pipe / UPVC/ CPVC / DWC pipe | Kasta/Hasti/KML Classic(KISAN)/VIP Pipe/Supreme/Finolex |
| 257 | Diesel Engine | Ashok Leyland/Cummins/cater pillars /koel/Volvo Penta/Mahindra upto 40KVA/Escort upto 30 KVA/ Eicher upto 20KVA |
| 258 | Alternator (brushless) | Crompton greaves/kirloskar/Leroy Somer / Stamford/ Jyoti Ltd |
| 259 | Intelligent APFC relay | Epcos(siemen)/ L&T/Schneider Electric/ Neptune Ducati/Syntron/ABB |
| 260 | BUS Trunking/bus duct | Schneider Electric/ L&T/ ABB/Legrand/Zeta/Moeller |
| 261 | Cable tray | Bharti/Ratan/Slotco/Profab/MEM |
| 262 | Centrifugal Pump | Amrut/BE/Beacon/Batliboi/Crompton/Jyoti/kirloskar/KSB/Mather and platt/Wasp/Grundfos |
| 263 | Submersible Pump | Amrut/BE/Crompton/kirloskar/KSB/ Calama |
| 264 | Single phase preventer | L&T/ Siemens/Minilec/Zeritrip |
| 265 | GI pipe | Tata/Jindal/ Zenith /ATC /ATL /BST/ GSI/ITC /ITS /IIA /JST/ |
| 266 | Resin bonded glass wool | Fiber glass/pilkingston/UP twiga |
| 267 | Gauge | H.Guru/pricol/ feibig |
| 268 | GI sheet | Hsu Jindal/National /Nippon Denro/ SAIL/TATA |
| 269 | Smoke detector | Apollo/Cerebrus /Edward/ Fenwal/ Hochiki/ Nitton/Wormald/schrack seconet/honeywell |
| 270 | Fire panel (microprocessor based) | Agni Instrument /Agni Devices /Aruna Agencies /Carmel Sensor/Ravel Electric/Honeywell Essar/Notifier /Navin System |
| 271 | Fluorescent Tube Light | Philips/Bajaj/Cropmton/syska/havells/surja |
| 272 | Post Top Lantern Light | Philips/Bajaj/Cropmton/surja |
| 273 | Co-axial Cable | Delton Cables /Cable Corporation /Finilex Cables |

Note: above list is not exhaustive. Reader may explore other